| CRITICAL FACILITY SURVEY FOR EMERGENCY ELECTRICAL POWER |
| --- |
| CRITICAL FACILITY TYPE: LIFE SAVING LIFE SUSTAINING INFRASTRUCTURE |
| FACILITY USE / PURPOSE: |  |
| NAME OF FACILITY: |  |
| COUNTY : |  | GEMA AREA NUMBER: |  |
| MUNICIPALITY: |  |
| PRIMARY POC: |  | PHONE: |  |
| ADDRESS: | CITY, STREET NAME/# & ZIP: |
| LATITUDE: |  | LONGITUDE: |  |
| FACILITY POC: |  | PHONE: |  |
| NAME OF POWER COMPANY: |  | FACILITY PEAK LOAD: |  |
| TRANSFORMER TYPE: | Liquid Dry Delta-wye Wye-wye | MAX VOLTAGE: |  |
| # OF SERVICE DROPS: | TOTAL AMP DRAW: | FEEDER CABLE SIZE: |  |
| SERVICE DROP TYPE: | Overhead Underground | TRANSFORMER MOUNT TYPE: | Pad Pole |
| GENERATOR PLACEMENT SITE OBSTRUCTIONS: (Gate, fence, plants etc.) |  | EMERGENCY GENERATOR CONNECTION POINT: |  |
| GENERATOR KW RATING REQUIRED AT 75% LOAD: |  | SIZE OF FACILITY (SQ FT: |  |
| DISTANCE FROM TRAILERED GENERATOR TO CONNECTION POINT: |  | METHOD OF CONNECTION TO FACILITY: |  |
| LENGETH OF CABLE REQUIRED TO COMPLETE CONNECTION: |  | DOES FACILITY HAVE AN ATS OR MTS? | ATS MTS NONE |
| ABILITY TO OFF-LOAD GENERATOR: | YES NO TYPE EQUIPMENT AVAILABLE FOR USE: | STAFF AVAILABLE TO MAINTAIN GENERATOR: | YES NO |  |
| ON-SITE REFUELING CAPABILITY: | Gasoline Diesel | DATE OF SURVEY | BY |  |
| COMMENTS: |  |

FACILITY DIAGRAM

Definitions:

Critical Facility:  Those facilities that will assist in saving lives and prevent human suffering and those that house the workplaces from which first responders operate.

Life Saving Facility:  Fire Station, Hospital, Police Station, etc.

Life Sustaining Facility:  Public Shelter, etc.

Infrastructure Facility:  Water/Sewerage Treatment Plant, Water Pumping Station, Communications Center, etc.

Service Drop:  Power line from transformer to facility.  May be above or below ground.

Feeder Cable Size:  Size of wire used for service drop.

Generator KW Rating:  Should be determined by a qualified electrician or electrical engineer by looking at the facility electrical panel in conjunction with knowledge of the National Electric Code (NEC).

ATS:  Automatic Transfer Switch.  This switch reads building voltage and, when the regular electrical power goes out, it commands the back up generator to start and cuts the connection between the service drop and the facility.  When the regular electrical power is restored, it shuts down the back up generator and restores the connection between the service drop and the facility.

MTS:  Manual Transfer Switch.  Performs same function as ATS except that it must be operated by a human being.